## Instructions
EUROPEAN UNION PROFICIENCY TEST FOR SPECIAL COMMODITIES 08
Please, introduce your data in the blue fields and send the file to cferrer@ual.es by 18th December 2024
Please, submit your results with this Excel file, and DO NOT INSERT OR DELETE ANY LINE
If you have any question, please contact Carmen Ferrer (cferrer@ual.es)
To submit results for EUPT-FV-SC08 you have to enter your data in the next tab. It contains instructions on how to enter the data.
IMPORTANT: IF THE DROP-DOWN TOOL DOES NOT WORK IN THE CELLS, PLEASE, CHECK THE LAST TAB TO KNOW HOW TO FILL IN THE FORMS
In the "Results" tab please indicate the laboratory scope by filling in the pesticides that you have analysed for with their corresponding limit of quantification (LOQ) in mg/kg. Please do so for all the pesticides of the target list, not only for those that you have detected. For the identified pesticides, please enter your results such as concentration, recoveries, etc. Please remember that many of the fields that you have to fill in are drop-down lists, so you only have to select one of the offered possibilities. If you want to introduce any other text not offered by us, just do so by writing it directly. If the drop-down tool does not work, you can find the different options offered in the last tab: “RESULTS fill in help”

## Results
[30 empty] | method | YESORNO | solvent | cleanUp | calibration | GC | lc | confirmation | rec | istd | ioniz | polarity | yesornowater | yesorno
| Please indicate the laboratory scope by filling in the pesticides that you have analysed for with their corresponding limit of quantification (LOQ) in mg/kg. Please do so for all the pesticides of the target list, not only for those that you have detected. For the identified pesticides, please enter your results such as concentration, recoveries, etc. Please remember that many of the fields that you have to fill in are drop-down lists, so you only have to select one of the offered possibilities. If you want to introduce any other text not offered by us, just do so by writing it directly. If the drop-down tool does not work, you can find the different options offered in the last tab: “RESULTS fill in help” | [28 empty] | Method 1 | Yes | Acetone | SPE, solid phase extraction column | Matrix matched-Single Level | ECD | DAD | None | Rec. from the same batch | No | EI (Electron Ionisation) | Positive | Yes (please, specify mL) | Yes
| Results of the Proficiency Test EUPT-FV-SC08 | [28 empty] | Method 2 | No | Acetonitrile | DSPE, dispersive solid phase extraction | Matrix matched-Multiple Level | NPD | Fluorescence | Two columns | Rec. from validation data | Yes: Isotopically labelled (target pesticide) | CI (Chemical Ionisation) | Negative | No | No
[30 empty] | Method 3 |  | Cyclohexane | GPC, gel permeation chromatography | Pure solvent-Single Level | FPD | UV | LC-MS (IT) | Via Isotopically labelled ISTD | Yes: Isotopically labelled (another compound, enter the name under “ISTD details”) | ESI (Electrospray Ionisation)
|  | Laboratory name: | [27 empty] | Method 4 |  | Dichloromethane | Liquid-liquid partitioning | Pure solvent-Multiple Level | FID | MS (IT) | LC-MS (tQ) | Via Standard Addition | Yes: Other (Please Specify) | APCI (Atmospheric pressure chemical ionization)
[30 empty] | Method 5 |  | Ethyl acetate | Freezing out | Standard Addition | MS (IT) | MS (tQ) | LC-MS (TOF) | Other (Please Specify) |  | Other (Please Specify)
|  | Laboratory Code: |  |  | Sample number: | [24 empty] | Method 6 |  | Methanol | None | Other (Please Specify) | MS (sQ) | MS (TOF) | LC-MS (QTOF)
[30 empty] | Method 7 |  | Petroleum ether | Other (Please Specify) |  | MS (tQ) | MS (QTOF) | LC-MS (Orbitrap)
No. | PESTICIDE: | Analysed for? | Identified? | Limit of Quantification LOQ (mg/kg) | Concentration (mg/kg) | Sample weight (g) | Extraction solvent 1 | Extraction solvent 2 | Extraction solvent 3 | Is water added prior to extraction? | If so, how much water, in mL, was added to the sample? | Soaking time (min) | Is pH adjusted with buffer? | Extraction details (ultraturrax, etc,) | Clean-up | Clean-up details (sorbents, etc) | Calibration | If analysed by GC, please select detector | If analysed by LC, please select detector | Ionisation mode | Polarity | Recovery Approach | Recovery (%) | No of analyses for recovery calculations | Are results corrected for recovery? | Is this pesticide included in your routine scope? | Is this pesticide accredited? | ISTD used? | ISTD details | Method 8 |  | Other (Please Specify) |  |  | MS (TOF) | MS (Orbitrap) | GC-MS (sQ)
1 | Acephate | [28 empty] | Method 9 |  |  |  |  | MS (QTOF) | Other (Please Specify) | GC-MS (IT)
2 | Acetamiprid | [28 empty] | Method 10 |  |  |  |  | Other (Please Specify) |  | GC-MS (tQ)
3 | Aclonifen
4 | Acrinathrin | [35 empty] | GC-MS (TOF)
5 | Aldicarb | [35 empty] | GC-MS (QTOF)
6 | Aldicarb Sulfone | [35 empty] | Other (Please Specify)
7 | Aldicarb Sulfoxide
8 | Aldrin
9 | Ametoctradin
10 | Azinphos-methyl
11 | Azoxystrobin
12 | Bifenthrin
13 | Biphenyl
14 | Bitertanol
15 | Boscalid
16 | Bromopropylate
17 | Bromuconazole
18 | Bupirimate
19 | Buprofezin
20 | Cadusafos
21 | Carbaryl
22 | Carbendazim
23 | Carbofuran
24 | Carbofuran-3-hydroxy
25 | Chlorantraniliprole
26 | Chlorfenapyr
27 | Chlorfenvinphos
28 | Chlorobenzilate
29 | Chlorothalonil
30 | Chlorpropham
31 | Chlorpyrifos
32 | Chlorpyrifos-methyl
33 | Clofentezine
34 | Clothianidin
35 | Cyantraniliprole
36 | Cyazofamid
37 | Cyflufenamid
38 | Cyflumetofen
39 | Cyfluthrin
40 | Cymoxanil
41 | Cypermethrin
42 | Cyproconazole
43 | Cyprodinil
44 | Deltamethrin
45 | Demeton-S-methylsulfone
46 | Diazinon
47 | Dichlofluanid
48 | Dichlorvos
49 | Dicloran
50 | Dicofol
51 | Dieldrin
52 | Diethofencarb
53 | Difenoconazole
54 | Diflubenzuron
55 | Dimethoate
56 | Dimethomorph
57 | Dimethylaminosulfotoluidide (DMST)
58 | Diniconazole
59 | Diphenylamine
60 | Endosulfan alpha
61 | Endosulfan beta
62 | Endosulfan sulfate
63 | EPN
64 | Epoxiconazole
65 | Ethion
66 | Ethirimol
67 | Ethoprophos
68 | Etofenprox
69 | Etoxazole
70 | Famoxadone
71 | Fenamidone
72 | Fenamiphos
73 | Fenamiphos sulfone
74 | Fenamiphos sulfoxide
75 | Fenarimol
76 | Fenazaquin
77 | Fenbuconazole
78 | Fenhexamid
79 | Fenitrothion
80 | Fenoxycarb
81 | Fenpropathrin
82 | Fenpropidin
83 | Fenpropimorph
84 | Fenpyrazamine
85 | Fenpyroximate
86 | Fenthion
87 | Fenthion oxon
88 | Fenthion oxon sulfone
89 | Fenthion oxon sulfoxide
90 | Fenthion sulfone
91 | Fenthion sulfoxide
92 | Fenvalerate
93 | Fipronil
94 | Fipronil sulfone
95 | Flonicamid
96 | Flubendiamide
97 | Fludioxonil
98 | Flufenoxuron
99 | Fluopicolide
100 | Fluopyram
101 | Flupyradifurone
102 | Fluquinconazole
103 | Flusilazole
104 | Flutolanil
105 | Flutriafol
106 | Fluxapyroxad
107 | Formetanate
108 | Fosthiazate
109 | Hexaconazole
110 | Hexythiazox
111 | Imazalil
112 | Imidacloprid
113 | Indoxacarb
114 | Iprodione
115 | Iprovalicarb
116 | Isocarbophos
117 | Isofenphos-methyl
118 | Isoprothiolane
119 | Kresoxim-methyl
120 | Lambda-Cyhalothrin
121 | Linuron
122 | Lufenuron
123 | Malaoxon
124 | Malathion
125 | Mandipropamid
126 | Mepanipyrim
127 | Metaflumizone
128 | Metalaxyl
129 | Methamidophos
130 | Methidathion
131 | Methiocarb
132 | Methiocarb sulfone
133 | Methiocarb sulfoxide
134 | Methomyl
135 | Methoxyfenozide
136 | Metrafenone
137 | Monocrotophos
138 | Myclobutanyl
139 | Omethoate
140 | Orthophenylphenol
141 | Oxadixyl
142 | Oxamyl
143 | Oxydemeton-methyl
144 | Paclobutrazole
145 | Paraoxon-methyl
146 | Parathion
147 | Parathion-methyl
148 | Penconazole
149 | Pencycuron
150 | Pendimethalin
151 | Permethrin
152 | Phenthoate
153 | Phosalone
154 | Phosmet
155 | Phosmet oxon
156 | Phoxim
157 | Pirimicarb
158 | Pirimiphos-methyl
159 | Prochloraz
160 | Procymidone
161 | Profenofos
162 | Propamocarb
163 | Propargite
164 | Propiconazole
165 | Propyzamide
166 | Proquinazid
167 | Prosulfocarb
168 | Prothioconazole
169 | Prothiofos
170 | Pymetrozine
171 | Pyraclostrobin
172 | Pyridaben
173 | Pyridalyl
174 | Pyrimethanil
175 | Pyriproxyfen
176 | Quinoxyfen
177 | Spinetoram
178 | Spinosad
179 | Spirodiclofen
180 | Spiromesifen
181 | Spirotetramat
182 | Spirotetramat-enol
183 | Spiroxamine
184 | Sulfoxaflor
185 | Tau-Fluvalinate
186 | Tebuconazole
187 | Tebufenozide
188 | Tebufenpyrad
189 | Teflubenzuron
190 | Tefluthrin
191 | Terbuthylazine
192 | Tetraconazole
193 | Tetradifon
194 | Thiabendazole
195 | Thiacloprid
196 | Thiamethoxam
197 | Thiodicarb
198 | Thiophanate-methyl
199 | Tolclofos-methyl
200 | Tolylfluanid
201 | Triadimefon
202 | Triadimenol
203 | Triazophos
204 | Trichlorfon
205 | Tricyclazole
206 | Trifloxystrobin
207 | Triflumizole
208 | Triflumizole metabolite (FM-6-1)
209 | Triflumuron
210 | Trifluralin
211 | Triticonazole
212 | Vinclozolin
213 | Zoxamide

## RESULTS fill in help
This form is only for information
Results of the Proficiency Test EUPT-FV-SC08
Laboratory name:
| Laboratory Code: |  |  | Sample number:
PESTICIDE: | Analysed for? | Identified? | Limit of Quantification LOQ (mg/kg): | Concentration (mg/kg) | Sample weight | Extraction solvent 1 | Extraction solvent 2 | Extraction solvent 3 | Is water added prior to extraction? | If so, how much water, in mL, was added to the sample? | Soaking time (min) | Is pH adjusted with buffer? | Extraction details (ultraturrax, etc,) | Clean-up | Clean-up details (sorbents, etc) | Calibration: | If analysed by GC, please select detector | If analysed by LC, please select detector | Ionisation mode: | Polarity | Recovery Approach: | Recovery (%) | No of analyses for recovery calculations | Are results corrected for recovery? | Is this pesticide included in your routine scope? | Is this pesticide accredited? | ISTD used?: | ISTD details
XXXXX
XXXXX
XXXXX
| Options to choose | Options to choose |  |  |  | Options to choose | Options to choose | Options to choose | Options to choose |  |  | Options to choose |  | Options to choose |  | Options to choose | Options to choose | Options to choose | Options to choose | Options to choose | Options to choose |  |  | Options to choose | Options to choose | Options to choose | Options to choose
| Yes | Yes |  |  |  | Acetone | Acetone | Acetone | Yes |  |  | Yes |  | SPE, solid phase extraction column |  | Matrix matched-Single Level | ECD | DAD | EI (Electron Ionisation) | Positive | Rec. from the same batch |  |  | Yes | Yes | Yes | No
| No | No |  |  |  | Acetonitrile | Acetonitrile | Acetonitrile | No |  |  | No |  | DSPE, dispersive solid phase extraction |  | Matrix matched-Multiple Level | NPD | Fluorescence | CI (Chemical Ionisation) | Negative | Rec. from validation data |  |  | No | No | No | Yes: Isotopically labelled (target pesticide)
[6 empty] | Cyclohexane | Cyclohexane | Cyclohexane | [5 empty] | GPC, gel permeation chromatography |  | Pure solvent-Single Level | FPD | UV | ESI (Electrospray Ionisation) |  | Via Isotopically labelled ISTD | [5 empty] | Yes: Isotopically labelled (another compound, enter the name under “ISTD details”)
[6 empty] | Dichloromethane | Dichloromethane | Dichloromethane | [5 empty] | Liquid-liquid partitioning |  | Pure solvent-Multiple Level | FID | MS (IT) | APCI (Atmospheric pressure chemical ionization) |  | Via Standard Addition | [5 empty] | Yes: Other (Please Specify)
[6 empty] | Ethyl Acetate | Ethyl Acetate | Ethyl Acetate | [5 empty] | Freezing out |  | Standard Addition | MS (IT) | MS (tQ) | Other (Please Specify) |  | Other (Please Specify)
[6 empty] | Methanol | Methanol | Methanol | [5 empty] | None |  | Other (Please Specify) | MS (sQ) | MS (TOF)
[6 empty] | Petroleum ether | Petroleum ether | Petroleum ether | [5 empty] | Other (Please Specify) |  |  | MS (tQ) | MS (QTOF)
[6 empty] | Other (Please Specify) | Other (Please Specify) | Other (Please Specify) | [8 empty] | MS (TOF) | MS (Orbitrap)
[17 empty] | MS (QTOF) | Other (Please Specify)
Other (Please Specify)